# 联动预案

## 1.1获取联动预案数目

|  |  |
| --- | --- |
| url | [http://172.29.1.170:60003/LinkageService/GetAllLinkagePlanNum](http://172.29.1.170:60003/LinkageService/GetAllLinkagePlanNum%20) |
| 请求方式 | post |
| 参数: | 无 |
| 返回值 | {"GetAllLinkagePlanNumResult":7} |

## 1.2分页获取联动预案列表

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60003/LinkageService/GetAllLinkagePlan> |
| 请求方式 | post |
| 参数: | {"startDbId":0,"Count":7} |
| 返回值 | {  "GetAllLinkagePlanResult" : [ {  "Conditions" : [ {  "AlarmCode" : 990000047,  "AttrCode" : null,  "AttrTrigType" : -1,  "AttrValue" : null,  "Cid" : 12,  "DevCode" : 290102000,  "DevCombinRule" : 2,  "DevOids" : "[130002038,130002039]",  "LinkageTrigType" : 1,  "PlanId" : 7  } ],  "Operations" : [ {  "AttrCode" : 200101001,  "Delay" : 0,  "DevCode" : 200101000,  "DevOids" : "[130001987]",  "Opid" : 11,  "PlanId" : 7,  "RunNum" : 1,  "SetValue" : "1"  } ],  "Plan" : {  "CreateTime" : "/Date(1531791040000+0800)/",  "Creater" : "管理员",  "IsActive" : false,  "IsAutorun" : true,  "Modifier" : "管理员",  "ModifyTime" : "/Date(1531791050000+0800)/",  "PlanId" : 7,  "PlanName" : "rrr",  "PlanType" : 2,  "Priority" : "低",  "TriggerRule" : 2  }  }]  } |

注释：startDbId [(x-1)\*n],Count[每页数量n]

## 1.3根据ID查询联动预案

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60003/LinkageService/GetLinkagePlanById> |
| 请求方式 | post |
| 参数: | {"planId":28} |
| 返回值 | {  "GetLinkagePlanByIdResult" : {  "Conditions" : [ {  "AlarmCode" : 990000047,  "AttrCode" : null,  "AttrTrigType" : -1,  "AttrValue" : null,  "Cid" : 12,  "DevCode" : 290102000,  "DevCombinRule" : 2,  "DevOids" : "[130002038,130002039]",  "LinkageTrigType" : 1,  "PlanId" : 28  } ],  "Operations" : [ {  "AttrCode" : 210101001,  "Delay" : 0,  "DevCode" : 200101000,  "DevOids" : "[130002150]",  "Opid" : 28,  "PlanId" : 28,  "RunNum" : 1,  "SetValue" : "1"  } ],  "Plan" : {  "CreateTime" : "/Date(1543303918000+0800)/",  "Creater" : "管理员",  "IsActive" : false,  "IsAutorun" : true,  "Modifier" : "管理员",  "ModifyTime" : "/Date(1543303918000+0800)/",  "PlanId" : 28,  "PlanName" : "cccc",  "PlanType" : 2,  "Priority" : "低",  "TriggerRule" : 2  }  }  } |

## 1.4联动预案增加

|  |  |
| --- | --- |
| url | [http://172.29.1.170:60003/LinkageService/AddLinkagePlan](http://172.29.1.170:60003/LinkageService/AddPlanCfg) |
| 请求方式 | post |
| 参数: | {"cfg":{"Plan":{"Creater":"管理员","IsActive":0,"IsAutorun":1,"Modifier":"管理员","PlanId":0,"PlanName":"ccccc","PlanType":2,"Priority":"低","TriggerRule":2},"Conditions":[{"AlarmCode":990000047,"AttrCode":null,"AttrTrigType":-1,"AttrValue":null,"Cid":12,"DevCode":290102000,"DevCombinRule":2,"DevOids":"[130002038,130002039]","LinkageTrigType":1,"PlanId":0}],"Operations":[{"AttrCode":210101001,"Delay":0,"DevCode":200101000,"DevOids":"[130002150]","RunNum":1,"SetValue":"1"}]} |
| 返回值 | {"AddLinkagePlanResult":30} |
|  | {"cfg":{"Conditions":[{"AlarmCode":990000047,"AttrCode":null,"AttrTrigType":-1,"AttrValue":null,"Cid":36,"DevCode":210101000,"DevCombinRule":2,"DevOids":"[130002150]","LinkageTrigType":1,"PlanId":35},{"AlarmCode":null,"AttrCode":200101004,"AttrTrigType":0,"AttrValue":"IntrusionAlarm","Cid":37,"DevCode":200101000,"DevCombinRule":2,"DevOids":"[130001987]","LinkageTrigType":2,"PlanId":35}],"Operations":[{"AttrCode":210101001,"Delay":0,"DevCode":210101000,"DevOids":"[130002150]","Opid":35,"PlanId":35,"RunNum":1,"SetValue":"0"}],"Plan":{"CreateTime":"\/Date(1548227147000+0800)\/","Creater":"yk\_bs","IsActive":false,"IsAutorun":true,"Modifier":"yk\_bs","ModifyTime":"\/Date(1548227147000+0800)\/","PlanId":35,"PlanName":"test1","PlanType":2,"Priority":"低","TriggerRule":2}}} |
|  | {"AddLinkagePlanResult":36} |

## 1.5联动预案修改

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60003/LinkageService/ModLinkagePlan> |
| 请求方式 | post |
| 参数: | {"cfg":{"Plan":{"Creater":"管理员","IsActive":0,"IsAutorun":1,"Modifier":"管理员","PlanId":29,"PlanName":"CCCCC","PlanType":2,"Priority":"低","TriggerRule":2},"Conditions":[{"AlarmCode":990000047,"AttrCode":null,"AttrTrigType":-1,"AttrValue":null,"Cid":28,"DevCode":290102000,"DevCombinRule":2,"DevOids":"[130002038,130002039]","LinkageTrigType":1,"PlanId":29}],"Operations":[{"AttrCode":210101001,"Delay":0,"DevCode":200101000,"DevOids":"[130002150]","RunNum":1,"SetValue":"1","PlanId":29,"Opid":23}]}} |
| 返回值 | {"ModLinkagePlanResult":true} |

## 1.6联动预案删除

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60003/LinkageService/DelLinkagePlan> |
| 请求方式 | post |
| 参数: | {"id":25} |
| 返回值 | {"DelLinkagePlanResult":true} |

## 1.7查询联动预案

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60003/LinkageService/QueryPlanCfg> |
| 请求方式 | post |
| 参数: | {"searchCondition":{"linkType":2,"OrderDirection":"desc","OrderField":"create\_time"},"start":0,"count":10} |
| 返回值 | {  "GetAllLinkagePlanResult" : [ {  "Conditions" : [ {  "AlarmCode" : 990000047,  "AttrCode" : null,  "AttrTrigType" : -1,  "AttrValue" : null,  "Cid" : 12,  "DevCode" : 290102000,  "DevCombinRule" : 2,  "DevOids" : "[130002038,130002039]",  "LinkageTrigType" : 1,  "PlanId" : 7  } ],  "Operations" : [ {  "AttrCode" : 200101001,  "Delay" : 0,  "DevCode" : 200101000,  "DevOids" : "[130001987]",  "Opid" : 11,  "PlanId" : 7,  "RunNum" : 1,  "SetValue" : "1"  } ],  "Plan" : {  "CreateTime" : "/Date(1531791040000+0800)/",  "Creater" : "管理员",  "IsActive" : false,  "IsAutorun" : true,  "Modifier" : "管理员",  "ModifyTime" : "/Date(1531791050000+0800)/",  "PlanId" : 7,  "PlanName" : "rrr",  "PlanType" : 2,  "Priority" : "低",  "TriggerRule" : 2  }  }]  } |

注释：linkType(全部0，监测类1，执行类2)

## 1.8 激活特定联动预案

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60003/LinkageService/LinkageStart> |
| 请求方式 | post |
| 参数: | {"Id":10} |
| 返回值 | {" LinkageStartResult":true} |

## 1.9 去激活特定联动预案

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60003/LinkageService/LinkageStop> |
| 请求方式 | post |
| 参数: | {"Id":10} |
| 返回值 | {" LinkageStopResult":true} |

## 2.0根据设备类型名找告警类型

|  |  |
| --- | --- |
| url | <http://127.0.0.1:60003/LinkageService/GetCfgLinkageAlarmByDevName> |
| 请求方式 | post |
| 参数: | {"devName":"LED大屏幕"} |
| 返回值 | {  "GetCfgLinkageAlarmByDevNameResult" : [ {  "AlarmCode" : 990000001,  "AlarmName" : "设备故障",  "DevCode" : 210101000,  "DevName" : "LED大屏幕",  "Id" : 20,  "SubsysCode" : 210000000  }, {  "AlarmCode" : 990000047,  "AlarmName" : "设备对象连接异常",  "DevCode" : 210101000,  "DevName" : "LED大屏幕",  "Id" : 56,  "SubsysCode" : 210000000  }, {  "AlarmCode" : 990000048,  "AlarmName" : "属性值高于阈值",  "DevCode" : 210101000,  "DevName" : "LED大屏幕",  "Id" : 91,  "SubsysCode" : 210000000  }, {  "AlarmCode" : 990000049,  "AlarmName" : "属性值低于阈值",  "DevCode" : 210101000,  "DevName" : "LED大屏幕",  "Id" : 128,  "SubsysCode" : 210000000  }, {  "AlarmCode" : 990000050,  "AlarmName" : "属性值超出范围",  "DevCode" : 210101000,  "DevName" : "LED大屏幕",  "Id" : 165,  "SubsysCode" : 210000000  } ]  } |

## 2.1触发条件-属性值类型-设备类型列表

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60003/LinkageService/GetCondAttrDeviceTypeMap> |
| 请求方式 | post |
| 参数: | 无 |
| 返回值 | {"GetCondAttrDeviceTypeMapResult":[{"Key":100101000,"Value":"冷水机组"},{"Key":100102000,"Value":"冷冻泵"},{"Key":100103000,"Value":"冷却泵"},{"Key":100104000,"Value":"冷却塔"},{"Key":100105000,"Value":"补水泵"},{"Key":100106000,"Value":"补水箱"},{"Key":100107000,"Value":"膨涨水箱"},{"Key":100201000,"Value":"锅炉"},{"Key":100202000,"Value":"锅炉热水循环泵"},{"Key":100203000,"Value":"锅炉热源系统"},{"Key":100205000,"Value":"换热站热水循环泵"},{"Key":100206000,"Value":"换热站热源系统"},{"Key":100207000,"Value":"供回水管网"},{"Key":100301000,"Value":"组合式空调机组"},{"Key":100302000,"Value":"吊装式空调机组"},{"Key":100303000,"Value":"风机盘管"},{"Key":100401000,"Value":"新风机组"},{"Key":100501000,"Value":"环境监测传感器"},{"Key":110101000,"Value":"组合照明回路"},{"Key":110102000,"Value":"基本照明回路"},{"Key":110103000,"Value":"无极调光回路"},{"Key":120101000,"Value":"高压进出线"},{"Key":120102000,"Value":"直流屏"},{"Key":120103000,"Value":"变压器"},{"Key":120104000,"Value":"低压电进线"},{"Key":120105000,"Value":"低压电出线"},{"Key":120106000,"Value":"柴油发电机"},{"Key":120107000,"Value":"UPS\/EPS"},{"Key":120108000,"Value":"配电室环境"},{"Key":120109000,"Value":"功率补偿"},{"Key":130101000,"Value":"生活水泵"},{"Key":130102000,"Value":"不锈钢水箱"},{"Key":130103000,"Value":"机房环境"},{"Key":130104000,"Value":"污水坑泵"},{"Key":130105000,"Value":"污水集水池"},{"Key":130106000,"Value":"隔油池"},{"Key":130107000,"Value":"冷却水补水泵"},{"Key":130108000,"Value":"雨水提升泵"},{"Key":130109000,"Value":"雨水回收池"},{"Key":130110000,"Value":"消火栓水泵"},{"Key":130111000,"Value":"喷淋水泵"},{"Key":130112000,"Value":"消防水炮泵"},{"Key":130113000,"Value":"防护冷却水泵"},{"Key":140101000,"Value":"梯控直梯"},{"Key":140102000,"Value":"梯控扶梯"},{"Key":140103000,"Value":"梯控机房环境"},{"Key":140104000,"Value":"梯控电梯底坑"},{"Key":150101000,"Value":"电表"},{"Key":150201000,"Value":"水表"},{"Key":150301000,"Value":"天燃气表"},{"Key":160101000,"Value":"周界防盗传感器"},{"Key":170101000,"Value":"巡更点"},{"Key":180101000,"Value":"门禁控制器"},{"Key":180102000,"Value":"门禁读卡器"},{"Key":180103000,"Value":"门禁电锁"},{"Key":190101000,"Value":"监控摄像机"},{"Key":190102000,"Value":"数字矩阵"},{"Key":190103000,"Value":"大屏幕显示设备"},{"Key":190104000,"Value":"硬盘录像机"},{"Key":190105000,"Value":"磁盘阵列"},{"Key":200101000,"Value":"广播终端设备"},{"Key":210101000,"Value":"LED大屏幕"},{"Key":210102000,"Value":"LED主机"},{"Key":220101000,"Value":"客流视频设备"},{"Key":230101000,"Value":"道闸"},{"Key":230102000,"Value":"车位"},{"Key":230103000,"Value":"车道"},{"Key":240101000,"Value":"消防感温火灾探测器"},{"Key":240102000,"Value":"消防感烟火灾探测器"},{"Key":240103000,"Value":"消防感光火灾探测器"},{"Key":240104000,"Value":"消防可燃气体探测器"},{"Key":240105000,"Value":"消防复合火灾探测器"},{"Key":240106000,"Value":"消防手动火灾报警按钮"},{"Key":240107000,"Value":"消防火灾报警控制器"},{"Key":240108000,"Value":"消防输入输出模块"},{"Key":240109000,"Value":"消防水流指示器"},{"Key":240110000,"Value":"消防阀门限位器"},{"Key":240111000,"Value":"消防压力检测器"},{"Key":240112000,"Value":"消防水力警铃"},{"Key":240113000,"Value":"消防压力开关"},{"Key":250101000,"Value":"围墙机"},{"Key":250102000,"Value":"门口主机"},{"Key":270101000,"Value":"充电桩"},{"Key":280101000,"Value":"一键报警主机"},{"Key":290101000,"Value":"WIFI接入控制器"},{"Key":290102000,"Value":"WIFI接入点"}]} |

## 2.2触发条件-事件类型-设备类型列表

Dictionary<int, Dictionary<int, CfgLinkageAlarm>>

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60003/LinkageService/GetCondAlarmDeviceTypeMap> |
| 请求方式 | post |
| 参数: | 无 |
| 返回值 | {"GetCondAlarmDeviceTypeMapResult":[{"Key":100101000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":100101000,"DevName":"冷水机组","Id":1,"SubsysCode":100000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":100101000,"DevName":"冷水机组","Id":130,"SubsysCode":100000000}}]},{"Key":100102000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":100102000,"DevName":"冷冻泵","Id":2,"SubsysCode":100000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":100102000,"DevName":"冷冻泵","Id":131,"SubsysCode":100000000}}]},{"Key":100103000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":100103000,"DevName":"冷却泵","Id":3,"SubsysCode":100000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":100103000,"DevName":"冷却泵","Id":132,"SubsysCode":100000000}}]},{"Key":100104000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":100104000,"DevName":"冷却塔","Id":4,"SubsysCode":100000000}},{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":100104000,"DevName":"冷却塔","Id":58,"SubsysCode":100000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":100104000,"DevName":"冷却塔","Id":93,"SubsysCode":100000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":100104000,"DevName":"冷却塔","Id":133,"SubsysCode":100000000}}]},{"Key":100105000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":100105000,"DevName":"补水泵","Id":5,"SubsysCode":100000000}}]},{"Key":100106000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":100106000,"DevName":"补水箱","Id":6,"SubsysCode":100000000}}]},{"Key":100107000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":100107000,"DevName":"膨涨水箱","Id":7,"SubsysCode":100000000}}]},{"Key":100201000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":100201000,"DevName":"锅炉","Id":8,"SubsysCode":100000000}},{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":100201000,"DevName":"锅炉","Id":59,"SubsysCode":100000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":100201000,"DevName":"锅炉","Id":97,"SubsysCode":100000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":100201000,"DevName":"锅炉","Id":134,"SubsysCode":100000000}}]},{"Key":100202000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":100202000,"DevName":"锅炉热水循环泵","Id":9,"SubsysCode":100000000}},{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":100202000,"DevName":"锅炉热水循环泵","Id":60,"SubsysCode":100000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":100202000,"DevName":"锅炉热水循环泵","Id":98,"SubsysCode":100000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":100202000,"DevName":"锅炉热水循环泵","Id":135,"SubsysCode":100000000}}]},{"Key":100203000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":100203000,"DevName":"锅炉热源系统","Id":10,"SubsysCode":100000000}},{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":100203000,"DevName":"锅炉热源系统","Id":61,"SubsysCode":100000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":100203000,"DevName":"锅炉热源系统","Id":99,"SubsysCode":100000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":100203000,"DevName":"锅炉热源系统","Id":136,"SubsysCode":100000000}}]},{"Key":100204000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":100204000,"DevName":"板式换热器","Id":11,"SubsysCode":100000000}}]},{"Key":100205000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":100205000,"DevName":"换热站热水循环泵","Id":12,"SubsysCode":100000000}},{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":100205000,"DevName":"换热站热水循环泵","Id":62,"SubsysCode":100000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":100205000,"DevName":"换热站热水循环泵","Id":100,"SubsysCode":100000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":100205000,"DevName":"换热站热水循环泵","Id":137,"SubsysCode":100000000}}]},{"Key":100206000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":100206000,"DevName":"换热站热源系统","Id":13,"SubsysCode":100000000}},{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":100206000,"DevName":"换热站热源系统","Id":63,"SubsysCode":100000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":100206000,"DevName":"换热站热源系统","Id":101,"SubsysCode":100000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":100206000,"DevName":"换热站热源系统","Id":138,"SubsysCode":100000000}}]},{"Key":100207000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":100207000,"DevName":"供回水管网","Id":14,"SubsysCode":100000000}},{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":100207000,"DevName":"供回水管网","Id":64,"SubsysCode":100000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":100207000,"DevName":"供回水管网","Id":102,"SubsysCode":100000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":100207000,"DevName":"供回水管网","Id":139,"SubsysCode":100000000}}]},{"Key":100301000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":100301000,"DevName":"组合式空调机组","Id":15,"SubsysCode":100000000}},{"Key":990000007,"Value":{"AlarmCode":990000007,"AlarmName":"高温告警","DevCode":100301000,"DevName":"组合式空调机组","Id":28,"SubsysCode":100000000}},{"Key":990000008,"Value":{"AlarmCode":990000008,"AlarmName":"过滤网告警","DevCode":100301000,"DevName":"组合式空调机组","Id":30,"SubsysCode":100000000}},{"Key":990000009,"Value":{"AlarmCode":990000009,"AlarmName":"防冻告警","DevCode":100301000,"DevName":"组合式空调机组","Id":31,"SubsysCode":100000000}},{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":100301000,"DevName":"组合式空调机组","Id":65,"SubsysCode":100000000}}]},{"Key":100401000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":100401000,"DevName":"新风机组","Id":16,"SubsysCode":100000000}},{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":100401000,"DevName":"新风机组","Id":67,"SubsysCode":100000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":100401000,"DevName":"新风机组","Id":104,"SubsysCode":100000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":100401000,"DevName":"新风机组","Id":141,"SubsysCode":100000000}}]},{"Key":110101000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":110101000,"DevName":"组合照明回路","Id":17,"SubsysCode":110000000}}]},{"Key":110102000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":110102000,"DevName":"基本照明回路","Id":18,"SubsysCode":110000000}}]},{"Key":170101000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":170101000,"DevName":"巡更点","Id":19,"SubsysCode":170000000}},{"Key":990000047,"Value":{"AlarmCode":990000047,"AlarmName":"设备对象连接异常","DevCode":170101000,"DevName":"巡更点","Id":53,"SubsysCode":170000000}}]},{"Key":210101000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":210101000,"DevName":"LED大屏幕","Id":20,"SubsysCode":210000000}},{"Key":990000047,"Value":{"AlarmCode":990000047,"AlarmName":"设备对象连接异常","DevCode":210101000,"DevName":"LED大屏幕","Id":56,"SubsysCode":210000000}},{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":210101000,"DevName":"LED大屏幕","Id":91,"SubsysCode":210000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":210101000,"DevName":"LED大屏幕","Id":128,"SubsysCode":210000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":210101000,"DevName":"LED大屏幕","Id":165,"SubsysCode":210000000}}]},{"Key":230101000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":230101000,"DevName":"道闸","Id":21,"SubsysCode":230000000}}]},{"Key":240101000,"Value":[{"Key":990000005,"Value":{"AlarmCode":990000005,"AlarmName":"火灾报警","DevCode":240101000,"DevName":"消防感温火灾探测器","Id":22,"SubsysCode":240000000}}]},{"Key":240102000,"Value":[{"Key":990000005,"Value":{"AlarmCode":990000005,"AlarmName":"火灾报警","DevCode":240102000,"DevName":"消防感烟火灾探测器","Id":23,"SubsysCode":240000000}}]},{"Key":240103000,"Value":[{"Key":990000005,"Value":{"AlarmCode":990000005,"AlarmName":"火灾报警","DevCode":240103000,"DevName":"消防感光火灾探测器","Id":24,"SubsysCode":240000000}}]},{"Key":240104000,"Value":[{"Key":990000005,"Value":{"AlarmCode":990000005,"AlarmName":"火灾报警","DevCode":240104000,"DevName":"消防可燃气体探测器","Id":25,"SubsysCode":240000000}}]},{"Key":240105000,"Value":[{"Key":990000005,"Value":{"AlarmCode":990000005,"AlarmName":"火灾报警","DevCode":240105000,"DevName":"消防复合火灾探测器","Id":26,"SubsysCode":240000000}}]},{"Key":240106000,"Value":[{"Key":990000005,"Value":{"AlarmCode":990000005,"AlarmName":"火灾报警","DevCode":240106000,"DevName":"消防手动火灾报警按钮","Id":27,"SubsysCode":240000000}}]},{"Key":190101000,"Value":[{"Key":990000007,"Value":{"AlarmCode":990000007,"AlarmName":"高温告警","DevCode":190101000,"DevName":"监控摄像机","Id":29,"SubsysCode":190000000}},{"Key":990000011,"Value":{"AlarmCode":990000011,"AlarmName":"外部报警","DevCode":190101000,"DevName":"监控摄像机","Id":32,"SubsysCode":190000000}},{"Key":990000012,"Value":{"AlarmCode":990000012,"AlarmName":"移动侦测","DevCode":190101000,"DevName":"监控摄像机","Id":33,"SubsysCode":190000000}},{"Key":990000013,"Value":{"AlarmCode":990000013,"AlarmName":"视频遮挡","DevCode":190101000,"DevName":"监控摄像机","Id":34,"SubsysCode":190000000}},{"Key":990000014,"Value":{"AlarmCode":990000014,"AlarmName":"硬盘满","DevCode":190101000,"DevName":"监控摄像机","Id":35,"SubsysCode":190000000}},{"Key":990000015,"Value":{"AlarmCode":990000015,"AlarmName":"硬盘故障","DevCode":190101000,"DevName":"监控摄像机","Id":36,"SubsysCode":190000000}},{"Key":990000016,"Value":{"AlarmCode":990000016,"AlarmName":"录像通道异常","DevCode":190101000,"DevName":"监控摄像机","Id":37,"SubsysCode":190000000}},{"Key":990000017,"Value":{"AlarmCode":990000017,"AlarmName":"警戒线事件","DevCode":190101000,"DevName":"监控摄像机","Id":38,"SubsysCode":190000000}},{"Key":990000018,"Value":{"AlarmCode":990000018,"AlarmName":"警戒区事件","DevCode":190101000,"DevName":"监控摄像机","Id":39,"SubsysCode":190000000}},{"Key":990000019,"Value":{"AlarmCode":990000019,"AlarmName":"物品遗留事件","DevCode":190101000,"DevName":"监控摄像机","Id":40,"SubsysCode":190000000}},{"Key":990000020,"Value":{"AlarmCode":990000020,"AlarmName":"物品搬移事件","DevCode":190101000,"DevName":"监控摄像机","Id":41,"SubsysCode":190000000}},{"Key":990000022,"Value":{"AlarmCode":990000022,"AlarmName":"入侵检测","DevCode":190101000,"DevName":"监控摄像机","Id":42,"SubsysCode":190000000}},{"Key":990000023,"Value":{"AlarmCode":990000023,"AlarmName":"视频诊断","DevCode":190101000,"DevName":"监控摄像机","Id":43,"SubsysCode":190000000}},{"Key":990000024,"Value":{"AlarmCode":990000024,"AlarmName":"视频异常","DevCode":190101000,"DevName":"监控摄像机","Id":44,"SubsysCode":190000000}},{"Key":990000025,"Value":{"AlarmCode":990000025,"AlarmName":"视频丢失","DevCode":190101000,"DevName":"监控摄像机","Id":45,"SubsysCode":190000000}},{"Key":990000047,"Value":{"AlarmCode":990000047,"AlarmName":"设备对象连接异常","DevCode":190101000,"DevName":"监控摄像机","Id":54,"SubsysCode":190000000}},{"Key":990000064,"Value":{"AlarmCode":990000064,"AlarmName":"物品保全事件","DevCode":190101000,"DevName":"监控摄像机","Id":94,"SubsysCode":190000000}},{"Key":990000065,"Value":{"AlarmCode":990000065,"AlarmName":"尾随事件","DevCode":190101000,"DevName":"监控摄像机","Id":95,"SubsysCode":190000000}},{"Key":990000066,"Value":{"AlarmCode":990000066,"AlarmName":"视频损坏事件","DevCode":190101000,"DevName":"监控摄像机","Id":96,"SubsysCode":190000000}},{"Key":990000053,"Value":{"AlarmCode":990000053,"AlarmName":"进入区域","DevCode":190101000,"DevName":"监控摄像机","Id":167,"SubsysCode":190000000}},{"Key":990000054,"Value":{"AlarmCode":990000054,"AlarmName":"离开区域","DevCode":190101000,"DevName":"监控摄像机","Id":168,"SubsysCode":190000000}},{"Key":990000055,"Value":{"AlarmCode":990000055,"AlarmName":"徘徊","DevCode":190101000,"DevName":"监控摄像机","Id":169,"SubsysCode":190000000}},{"Key":990000056,"Value":{"AlarmCode":990000056,"AlarmName":"快速移动","DevCode":190101000,"DevName":"监控摄像机","Id":170,"SubsysCode":190000000}},{"Key":990000057,"Value":{"AlarmCode":990000057,"AlarmName":"人员聚集","DevCode":190101000,"DevName":"监控摄像机","Id":171,"SubsysCode":190000000}},{"Key":990000058,"Value":{"AlarmCode":990000058,"AlarmName":"场景变更","DevCode":190101000,"DevName":"监控摄像机","Id":172,"SubsysCode":190000000}},{"Key":990000059,"Value":{"AlarmCode":990000059,"AlarmName":"虚焦报警","DevCode":190101000,"DevName":"监控摄像机","Id":173,"SubsysCode":190000000}},{"Key":990000060,"Value":{"AlarmCode":990000060,"AlarmName":"物品拿取","DevCode":190101000,"DevName":"监控摄像机","Id":174,"SubsysCode":190000000}},{"Key":990000061,"Value":{"AlarmCode":990000061,"AlarmName":"物品放置拿取","DevCode":190101000,"DevName":"监控摄像机","Id":175,"SubsysCode":190000000}},{"Key":990000062,"Value":{"AlarmCode":990000062,"AlarmName":"贴条事件","DevCode":190101000,"DevName":"监控摄像机","Id":176,"SubsysCode":190000000}},{"Key":990000063,"Value":{"AlarmCode":990000063,"AlarmName":"停留事件","DevCode":190101000,"DevName":"监控摄像机","Id":177,"SubsysCode":190000000}}]},{"Key":180103000,"Value":[{"Key":990000031,"Value":{"AlarmCode":990000031,"AlarmName":"异常开门","DevCode":180103000,"DevName":"门禁电锁","Id":47,"SubsysCode":180000000}},{"Key":990000032,"Value":{"AlarmCode":990000032,"AlarmName":"异常关门","DevCode":180103000,"DevName":"门禁电锁","Id":48,"SubsysCode":180000000}},{"Key":990000033,"Value":{"AlarmCode":990000033,"AlarmName":"关门超时","DevCode":180103000,"DevName":"门禁电锁","Id":49,"SubsysCode":180000000}},{"Key":990000034,"Value":{"AlarmCode":990000034,"AlarmName":"防拆告警","DevCode":180103000,"DevName":"门禁电锁","Id":50,"SubsysCode":180000000}},{"Key":990000035,"Value":{"AlarmCode":990000035,"AlarmName":"胁迫开门","DevCode":180103000,"DevName":"门禁电锁","Id":51,"SubsysCode":180000000}}]},{"Key":160101000,"Value":[{"Key":990000047,"Value":{"AlarmCode":990000047,"AlarmName":"设备对象连接异常","DevCode":160101000,"DevName":"周界防盗传感器","Id":52,"SubsysCode":160000000}},{"Key":990000002,"Value":{"AlarmCode":990000002,"AlarmName":"防盗入侵","DevCode":160101000,"DevName":"周界防盗传感器","Id":178,"SubsysCode":160000000}}]},{"Key":200101000,"Value":[{"Key":990000047,"Value":{"AlarmCode":990000047,"AlarmName":"设备对象连接异常","DevCode":200101000,"DevName":"广播终端设备","Id":55,"SubsysCode":200000000}},{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":200101000,"DevName":"广播终端设备","Id":90,"SubsysCode":200000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":200101000,"DevName":"广播终端设备","Id":127,"SubsysCode":200000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":200101000,"DevName":"广播终端设备","Id":164,"SubsysCode":200000000}}]},{"Key":220101000,"Value":[{"Key":990000047,"Value":{"AlarmCode":990000047,"AlarmName":"设备对象连接异常","DevCode":220101000,"DevName":"客流视频设备","Id":57,"SubsysCode":220000000}},{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":220101000,"DevName":"客流视频设备","Id":92,"SubsysCode":220000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":220101000,"DevName":"客流视频设备","Id":129,"SubsysCode":220000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":220101000,"DevName":"客流视频设备","Id":166,"SubsysCode":220000000}}]},{"Key":100302000,"Value":[{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":100302000,"DevName":"吊装式空调机组","Id":66,"SubsysCode":100000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":100302000,"DevName":"吊装式空调机组","Id":103,"SubsysCode":100000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":100302000,"DevName":"吊装式空调机组","Id":140,"SubsysCode":100000000}}]},{"Key":100501000,"Value":[{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":100501000,"DevName":"环境监测传感器","Id":68,"SubsysCode":100000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":100501000,"DevName":"环境监测传感器","Id":105,"SubsysCode":100000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":100501000,"DevName":"环境监测传感器","Id":142,"SubsysCode":100000000}}]},{"Key":120101000,"Value":[{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":120101000,"DevName":"高压进出线","Id":69,"SubsysCode":120000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":120101000,"DevName":"高压进出线","Id":106,"SubsysCode":120000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":120101000,"DevName":"高压进出线","Id":143,"SubsysCode":120000000}}]},{"Key":120102000,"Value":[{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":120102000,"DevName":"直流屏","Id":70,"SubsysCode":120000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":120102000,"DevName":"直流屏","Id":107,"SubsysCode":120000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":120102000,"DevName":"直流屏","Id":144,"SubsysCode":120000000}}]},{"Key":120103000,"Value":[{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":120103000,"DevName":"变压器","Id":71,"SubsysCode":120000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":120103000,"DevName":"变压器","Id":108,"SubsysCode":120000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":120103000,"DevName":"变压器","Id":145,"SubsysCode":120000000}}]},{"Key":120104000,"Value":[{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":120104000,"DevName":"低压电进线","Id":72,"SubsysCode":120000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":120104000,"DevName":"低压电进线","Id":109,"SubsysCode":120000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":120104000,"DevName":"低压电进线","Id":146,"SubsysCode":120000000}}]},{"Key":120105000,"Value":[{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":120105000,"DevName":"低压电出线","Id":73,"SubsysCode":120000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":120105000,"DevName":"低压电出线","Id":110,"SubsysCode":120000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":120105000,"DevName":"低压电出线","Id":147,"SubsysCode":120000000}}]},{"Key":120106000,"Value":[{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":120106000,"DevName":"柴油发电机","Id":74,"SubsysCode":120000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":120106000,"DevName":"柴油发电机","Id":111,"SubsysCode":120000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":120106000,"DevName":"柴油发电机","Id":148,"SubsysCode":120000000}}]},{"Key":120107000,"Value":[{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":120107000,"DevName":"UPS\/EPS","Id":75,"SubsysCode":120000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":120107000,"DevName":"UPS\/EPS","Id":112,"SubsysCode":120000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":120107000,"DevName":"UPS\/EPS","Id":149,"SubsysCode":120000000}}]},{"Key":120108000,"Value":[{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":120108000,"DevName":"配电室环境","Id":76,"SubsysCode":120000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":120108000,"DevName":"配电室环境","Id":113,"SubsysCode":120000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":120108000,"DevName":"配电室环境","Id":150,"SubsysCode":120000000}}]},{"Key":120109000,"Value":[{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":120109000,"DevName":"功率补偿","Id":77,"SubsysCode":120000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":120109000,"DevName":"功率补偿","Id":114,"SubsysCode":120000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":120109000,"DevName":"功率补偿","Id":151,"SubsysCode":120000000}}]},{"Key":130101000,"Value":[{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":130101000,"DevName":"生活水泵","Id":78,"SubsysCode":130000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":130101000,"DevName":"生活水泵","Id":115,"SubsysCode":130000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":130101000,"DevName":"生活水泵","Id":152,"SubsysCode":130000000}}]},{"Key":130103000,"Value":[{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":130103000,"DevName":"机房环境","Id":79,"SubsysCode":130000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":130103000,"DevName":"机房环境","Id":116,"SubsysCode":130000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":130103000,"DevName":"机房环境","Id":153,"SubsysCode":130000000}}]},{"Key":130107000,"Value":[{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":130107000,"DevName":"冷却水补水泵","Id":80,"SubsysCode":130000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":130107000,"DevName":"冷却水补水泵","Id":117,"SubsysCode":130000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":130107000,"DevName":"冷却水补水泵","Id":154,"SubsysCode":130000000}}]},{"Key":130109000,"Value":[{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":130109000,"DevName":"雨水回收池","Id":81,"SubsysCode":130000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":130109000,"DevName":"雨水回收池","Id":118,"SubsysCode":130000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":130109000,"DevName":"雨水回收池","Id":155,"SubsysCode":130000000}}]},{"Key":130110000,"Value":[{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":130110000,"DevName":"消火栓水泵","Id":82,"SubsysCode":130000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":130110000,"DevName":"消火栓水泵","Id":119,"SubsysCode":130000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":130110000,"DevName":"消火栓水泵","Id":156,"SubsysCode":130000000}}]},{"Key":130111000,"Value":[{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":130111000,"DevName":"喷淋水泵","Id":83,"SubsysCode":130000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":130111000,"DevName":"喷淋水泵","Id":120,"SubsysCode":130000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":130111000,"DevName":"喷淋水泵","Id":157,"SubsysCode":130000000}}]},{"Key":130112000,"Value":[{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":130112000,"DevName":"消防水炮泵","Id":84,"SubsysCode":130000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":130112000,"DevName":"消防水炮泵","Id":121,"SubsysCode":130000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":130112000,"DevName":"消防水炮泵","Id":158,"SubsysCode":130000000}}]},{"Key":130113000,"Value":[{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":130113000,"DevName":"防护冷却水泵","Id":85,"SubsysCode":130000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":130113000,"DevName":"防护冷却水泵","Id":122,"SubsysCode":130000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":130113000,"DevName":"防护冷却水泵","Id":159,"SubsysCode":130000000}}]},{"Key":140103000,"Value":[{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":140103000,"DevName":"梯控机房环境","Id":86,"SubsysCode":140000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":140103000,"DevName":"梯控机房环境","Id":123,"SubsysCode":140000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":140103000,"DevName":"梯控机房环境","Id":160,"SubsysCode":140000000}}]},{"Key":150101000,"Value":[{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":150101000,"DevName":"电表","Id":87,"SubsysCode":150000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":150101000,"DevName":"电表","Id":124,"SubsysCode":150000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":150101000,"DevName":"电表","Id":161,"SubsysCode":150000000}}]},{"Key":150201000,"Value":[{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":150201000,"DevName":"水表","Id":88,"SubsysCode":150000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":150201000,"DevName":"水表","Id":125,"SubsysCode":150000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":150201000,"DevName":"水表","Id":162,"SubsysCode":150000000}}]},{"Key":150301000,"Value":[{"Key":990000048,"Value":{"AlarmCode":990000048,"AlarmName":"属性值高于阈值","DevCode":150301000,"DevName":"天燃气表","Id":89,"SubsysCode":150000000}},{"Key":990000049,"Value":{"AlarmCode":990000049,"AlarmName":"属性值低于阈值","DevCode":150301000,"DevName":"天燃气表","Id":126,"SubsysCode":150000000}},{"Key":990000050,"Value":{"AlarmCode":990000050,"AlarmName":"属性值超出范围","DevCode":150301000,"DevName":"天燃气表","Id":163,"SubsysCode":150000000}}]},{"Key":250101000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":250101000,"DevName":"围墙机","Id":179,"SubsysCode":250000000}},{"Key":990000047,"Value":{"AlarmCode":990000047,"AlarmName":"设备对象连接异常","DevCode":250101000,"DevName":"围墙机","Id":183,"SubsysCode":250000000}}]},{"Key":270101000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":270101000,"DevName":"充电桩","Id":187,"SubsysCode":270000000}},{"Key":990000047,"Value":{"AlarmCode":990000047,"AlarmName":"设备对象连接异常","DevCode":270101000,"DevName":"充电桩","Id":192,"SubsysCode":270000000}}]},{"Key":280101000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":280101000,"DevName":"一键报警主机","Id":188,"SubsysCode":280000000}},{"Key":990000047,"Value":{"AlarmCode":990000047,"AlarmName":"设备对象连接异常","DevCode":280101000,"DevName":"一键报警主机","Id":193,"SubsysCode":280000000}}]},{"Key":290101000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":290101000,"DevName":"WIFI接入控制器","Id":189,"SubsysCode":290000000}},{"Key":990000047,"Value":{"AlarmCode":990000047,"AlarmName":"设备对象连接异常","DevCode":290101000,"DevName":"WIFI接入控制器","Id":194,"SubsysCode":290000000}}]},{"Key":290102000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":290102000,"DevName":"WIFI接入点","Id":190,"SubsysCode":290000000}},{"Key":990000047,"Value":{"AlarmCode":990000047,"AlarmName":"设备对象连接异常","DevCode":290102000,"DevName":"WIFI接入点","Id":195,"SubsysCode":290000000}}]},{"Key":110103000,"Value":[{"Key":990000001,"Value":{"AlarmCode":990000001,"AlarmName":"设备故障","DevCode":110103000,"DevName":"无极调光回路\u0009\u0009\u0009\u0009","Id":191,"SubsysCode":110000000}},{"Key":990000047,"Value":{"AlarmCode":990000047,"AlarmName":"设备对象连接异常","DevCode":110103000,"DevName":"无极调光回路","Id":196,"SubsysCode":110000000}}]}]} |

## 2.3触发条件-属性值类型列表

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60003/LinkageService/GetConAttrMap> |
| 请求方式 | post |
| 参数: | 无 |
| 返回值 | {"GetConAttrMapResult":[{"Key":100101002,"Value":"冷水机组开关状态"},{"Key":100101003,"Value":"冷水机组故障"},{"Key":100101004,"Value":"冷水机组手自动"},{"Key":100101006,"Value":"冷冻水供水温度"},{"Key":100101007,"Value":"冷冻水回水温度"},{"Key":100101008,"Value":"冷却水出水温度"},{"Key":100101009,"Value":"冷却水回水温度"},{"Key":100101010,"Value":"冷冻水供水压力"},{"Key":100101011,"Value":"冷冻水回水压力"},{"Key":100101012,"Value":"冷却水出水压力"},{"Key":100101013,"Value":"冷却水回水压力"},{"Key":100101014,"Value":"冷凝温度"},{"Key":100101015,"Value":"蒸发温度"},{"Key":100101016,"Value":"冷冻水流开关状态"},{"Key":100101018,"Value":"冷却蝶阀控制关反馈"},{"Key":100101019,"Value":"冷却蝶阀控制开反馈"},{"Key":100101021,"Value":"冷冻蝶阀反馈"},{"Key":100102002,"Value":"冷冻水泵启停状态"},{"Key":100102003,"Value":"冷冻水泵故障报警"},{"Key":100102004,"Value":"冷冻水泵手自动"},{"Key":100102006,"Value":"冷冻水泵变频状态"},{"Key":100102007,"Value":"冷冻水泵水泵进口压力"},{"Key":100102008,"Value":"冷冻水泵水泵出口压力"},{"Key":100103002,"Value":"冷却水泵启停状态"},{"Key":100103003,"Value":"冷却水泵故障报警"},{"Key":100103004,"Value":"冷却水泵手自动"},{"Key":100103006,"Value":"冷却水泵变频状态"},{"Key":100103007,"Value":"冷却水泵水泵进口压力"},{"Key":100103008,"Value":"冷却水泵水泵出口压力"},{"Key":100104002,"Value":"冷却塔启停状态"},{"Key":100104003,"Value":"冷却塔故障报警"},{"Key":100104004,"Value":"冷却塔手自动"},{"Key":100104006,"Value":"冷却塔变频状态"},{"Key":100104007,"Value":"冷却塔供水蝶阀状态"},{"Key":100104008,"Value":"冷却塔回水蝶阀状态"},{"Key":100104011,"Value":"冷却塔集水盘温度"},{"Key":100104012,"Value":"冷却塔集水盘水液位"},{"Key":100105001,"Value":"补水泵故障报警"},{"Key":100105002,"Value":"补水泵运行状态"},{"Key":100105003,"Value":"补水泵手自动模式"},{"Key":100106001,"Value":"补水箱低水位报警"},{"Key":100107001,"Value":"膨涨水箱超高水位报警"},{"Key":100201002,"Value":"锅炉运行状态"},{"Key":100201003,"Value":"锅炉手自动模式"},{"Key":100201004,"Value":"锅炉故障报警"},{"Key":100201006,"Value":"锅炉热水供水温度"},{"Key":100201007,"Value":"锅炉热水回水温度"},{"Key":100202002,"Value":"热水循环泵运行状态"},{"Key":100202003,"Value":"热水循环泵手自动模式"},{"Key":100202004,"Value":"热水循环泵故障报警"},{"Key":100202005,"Value":"热水循环泵水泵进口压力"},{"Key":100202006,"Value":"热水循环泵水泵出口压力"},{"Key":100202008,"Value":"热水循环泵频率反馈"},{"Key":100203001,"Value":"锅炉热源系统分集水器压差"},{"Key":100203004,"Value":"锅炉热源系统热水流量"},{"Key":100203005,"Value":"锅炉热源系统热水总供水温度"},{"Key":100203006,"Value":"锅炉热源系统热水总回水温度"},{"Key":100203007,"Value":"锅炉热源系统热源机房温度"},{"Key":100205002,"Value":"热水循环泵运行状态"},{"Key":100205003,"Value":"热水循环泵手自动模式"},{"Key":100205004,"Value":"热水循环泵故障报警"},{"Key":100205005,"Value":"热水循环泵进口压力"},{"Key":100205006,"Value":"热水循环泵出口压力"},{"Key":100205008,"Value":"热水循环泵频率反馈"},{"Key":100206003,"Value":"板式换热站热源系统热水流量"},{"Key":100206004,"Value":"板式换热站热源系统热水总供水温度"},{"Key":100206005,"Value":"板式换热站热源系统热水总回水温度"},{"Key":100206006,"Value":"板式换热站热源系统热源机房温度"},{"Key":100207001,"Value":"供回水管网换热站出水温度"},{"Key":100207002,"Value":"供回水管网换热站回水温度"},{"Key":100301001,"Value":"组合式空调系统启停"},{"Key":100301002,"Value":"组合式空调温度设定"},{"Key":100301003,"Value":"组合式空调湿度设定"},{"Key":100301004,"Value":"组合式空调新风温度"},{"Key":100301005,"Value":"组合式空调新风湿度"},{"Key":100301006,"Value":"组合式空调回风阀"},{"Key":100301007,"Value":"组合式空调防冻报警"},{"Key":100301008,"Value":"组合式空调风机压差"},{"Key":100301009,"Value":"组合式空调高温报警"},{"Key":100301010,"Value":"组合式空调送风温度"},{"Key":100301011,"Value":"组合式空调送风湿度"},{"Key":100301012,"Value":"组合式空调风管压力"},{"Key":100301013,"Value":"组合式空调新风阀门"},{"Key":100301014,"Value":"组合式空调滤网报警"},{"Key":100301015,"Value":"组合式空调冷热水阀给定"},{"Key":100301016,"Value":"组合式空调冷热水阀反馈"},{"Key":100301017,"Value":"组合式空调加湿阀给定"},{"Key":100301018,"Value":"组合式空调加湿阀反馈"},{"Key":100301019,"Value":"组合式空调送风机启停"},{"Key":100301020,"Value":"组合式空调送风机运行状态"},{"Key":100301021,"Value":"组合式空调送风机故障"},{"Key":100301022,"Value":"组合式空调送风机手自动状态"},{"Key":100301023,"Value":"组合式空调变频器调节"},{"Key":100301024,"Value":"组合式空调变频器反馈"},{"Key":100302001,"Value":"吊顶式空调启停控制"},{"Key":100302002,"Value":"吊顶式空调运行状态"},{"Key":100302003,"Value":"吊顶式空调手自动模式"},{"Key":100302004,"Value":"吊顶式空调故障报警"},{"Key":100302005,"Value":"吊顶式空调送风温度"},{"Key":100302006,"Value":"吊顶式空调电动水阀控制"},{"Key":100302007,"Value":"吊顶式空调电动水阀反馈"},{"Key":100303001,"Value":"风机盘管启停控制"},{"Key":100303002,"Value":"风机盘管运行状态"},{"Key":100303003,"Value":"风机盘管手自动模式"},{"Key":100401001,"Value":"新风系统启停"},{"Key":100401002,"Value":"新风温度设定"},{"Key":100401003,"Value":"新风送风温度"},{"Key":100401004,"Value":"新风滤网报警"},{"Key":100401005,"Value":"新风冷热水阀给定"},{"Key":100401006,"Value":"新风冷热水阀反馈"},{"Key":100401007,"Value":"新风送风机启停"},{"Key":100401008,"Value":"新风送风机运行状态"},{"Key":100401009,"Value":"新风送风机故障"},{"Key":100501001,"Value":"温度"},{"Key":100501002,"Value":"湿度"},{"Key":100501003,"Value":"CO2浓度"},{"Key":100501004,"Value":"PM2.5"},{"Key":100501005,"Value":"噪声"},{"Key":100501006,"Value":"PM10"},{"Key":100501007,"Value":"光照强度"},{"Key":110101002,"Value":"开关状态"},{"Key":110101003,"Value":"开关故障状态"},{"Key":110101004,"Value":"开关控制状态"},{"Key":110102002,"Value":"开关状态"},{"Key":110102003,"Value":"开关故障状态"},{"Key":110102004,"Value":"回路工作状态"},{"Key":110102005,"Value":"开关控制状态"},{"Key":110103002,"Value":"开关状态"},{"Key":110103003,"Value":"开关故障状态"},{"Key":110103004,"Value":"回路工作状态"},{"Key":110103005,"Value":"开关控制状态"},{"Key":110103006,"Value":"亮度控制状态"},{"Key":110103008,"Value":"亮度状态"},{"Key":120101001,"Value":"高压进出线电流"},{"Key":120101002,"Value":"高压进出线电压"},{"Key":120101003,"Value":"高压进出线有功功率"},{"Key":120101004,"Value":"高压进出线无功功率"},{"Key":120101005,"Value":"高压进出线视在功率"},{"Key":120102001,"Value":"直流屏充放电状态"},{"Key":120102002,"Value":"直流屏输出电压"},{"Key":120102003,"Value":"直流屏累计放电次数"},{"Key":120102004,"Value":"直流屏充电电压"},{"Key":120102005,"Value":"直流屏电池温度"},{"Key":120103001,"Value":"变压器铁芯线圈温度"},{"Key":120103002,"Value":"变压器散热风机状态"},{"Key":120103003,"Value":"变压器高温报警方式"},{"Key":120104001,"Value":"低压电进线电流"},{"Key":120104002,"Value":"低压电进线电压"},{"Key":120104003,"Value":"低压电进线有功功率"},{"Key":120104004,"Value":"低压电进线功率因数"},{"Key":120104005,"Value":"低压电进线谐波率"},{"Key":120104006,"Value":"低压电进线用电量"},{"Key":120105001,"Value":"低压电出线电流"},{"Key":120105002,"Value":"低压电出线电压"},{"Key":120105003,"Value":"低压电出线有功功率"},{"Key":120105004,"Value":"低压电出线功率因数"},{"Key":120105005,"Value":"低压电出线用电量"},{"Key":120106001,"Value":"柴油发电机输出电流"},{"Key":120106002,"Value":"柴油发电机输出电压"},{"Key":120106003,"Value":"柴油发电机频率"},{"Key":120106004,"Value":"柴油发电机电量"},{"Key":120106005,"Value":"柴油发电机水温"},{"Key":120106006,"Value":"柴油发电机电池"},{"Key":120106007,"Value":"柴油发电机状态"},{"Key":120106008,"Value":"柴油发电机故障状态"},{"Key":120107001,"Value":"UPS\/EPS充放电状态"},{"Key":120107002,"Value":"UPS\/EPS电池失效状态"},{"Key":120107003,"Value":"UPS\/EPS输出电压"},{"Key":120107004,"Value":"UPS\/EPS状态异常报警"},{"Key":120108001,"Value":"配电室温度"},{"Key":120108002,"Value":"配电室湿度"},{"Key":120109001,"Value":"功率补偿无功电流"},{"Key":120109002,"Value":"功率补偿无功功率"},{"Key":120109003,"Value":"功率补偿功率因数"},{"Key":120109004,"Value":"功率补偿补偿器温度"},{"Key":120109005,"Value":"功率补偿状态"},{"Key":130101001,"Value":"生活水泵启停状态"},{"Key":130101002,"Value":"生活水泵手自动状态"},{"Key":130101003,"Value":"生活水泵故障状态"},{"Key":130101004,"Value":"生活水泵速度变频反馈"},{"Key":130101005,"Value":"生活水泵管网压力"},{"Key":130101006,"Value":"生活水泵减压阀前后压力"},{"Key":130101007,"Value":"生活水泵定压报警"},{"Key":130102001,"Value":"不锈钢水箱高水位报警"},{"Key":130102002,"Value":"不锈钢水箱低水位报警"},{"Key":130103001,"Value":"机房温度"},{"Key":130104001,"Value":"污水坑泵启停状态"},{"Key":130104002,"Value":"污水坑泵故障状态"},{"Key":130104003,"Value":"污水坑泵手自动状态"},{"Key":130105001,"Value":"污水集水池高水位报警点"},{"Key":130106001,"Value":"隔油池超高水位报警点"},{"Key":130107001,"Value":"冷却水补水水泵启停状态"},{"Key":130107002,"Value":"冷却水补水水泵手自动状态"},{"Key":130107003,"Value":"冷却水补水水泵故障状态"},{"Key":130107004,"Value":"冷却水补水水泵速度变频反馈"},{"Key":130107005,"Value":"冷却水补水水泵管网压力"},{"Key":130108001,"Value":"雨水提升泵启停状态"},{"Key":130108002,"Value":"雨水提升泵手自动状态"},{"Key":130108003,"Value":"雨水提升泵故障状态"},{"Key":130109001,"Value":"雨水回收池流量监测"},{"Key":130109002,"Value":"雨水回收池低液位报警"},{"Key":130110001,"Value":"消火栓水泵出口环管处压力"},{"Key":130111001,"Value":"喷淋水泵出口环管处压力"},{"Key":130112001,"Value":"消防水炮泵出口环管处压力"},{"Key":130113001,"Value":"防护冷却水泵出口环管处压力"},{"Key":140101001,"Value":"直梯启停状态"},{"Key":140101002,"Value":"直梯楼层信息"},{"Key":140101003,"Value":"直梯运行状态"},{"Key":140101004,"Value":"直梯上下行状态"},{"Key":140102001,"Value":"扶梯启停状态"},{"Key":140102002,"Value":"扶梯运行状态"},{"Key":140102003,"Value":"扶梯上下行状态"},{"Key":140103001,"Value":"电梯机房温度"},{"Key":140104001,"Value":"电梯底坑抽水泵状态"},{"Key":140104002,"Value":"电梯底坑液位报警"},{"Key":150101001,"Value":"电表读数"},{"Key":150101002,"Value":"电表故障状态"},{"Key":150201001,"Value":"水表读数"},{"Key":150201002,"Value":"水表故障状态"},{"Key":150301001,"Value":"气表读数"},{"Key":150301002,"Value":"气表故障状态"},{"Key":160101001,"Value":"布撤防状态"},{"Key":160101002,"Value":"入侵告警状态"},{"Key":170101001,"Value":"巡更点是否在线"},{"Key":170101002,"Value":"巡更点工作状态"},{"Key":180101001,"Value":"门禁控制器启停状态"},{"Key":180101002,"Value":"门禁控制器告警状态"},{"Key":180102001,"Value":"门禁读卡器启停状态"},{"Key":180102002,"Value":"门禁读卡器告警状态"},{"Key":180103002,"Value":"门禁门锁状态"},{"Key":180103003,"Value":"门禁门锁告警状态"},{"Key":190101001,"Value":"摄像机工作状态"},{"Key":190102004,"Value":"矩阵设备工作状态"},{"Key":190103001,"Value":"大屏设备工作状态"},{"Key":190104001,"Value":"硬盘录像机工作状态"},{"Key":190105001,"Value":"磁盘阵列工作状态"},{"Key":200101002,"Value":"设备运行状态"},{"Key":200101003,"Value":"播放节目"},{"Key":200101004,"Value":"播放文件"},{"Key":210101001,"Value":"屏幕启停状态"},{"Key":210101002,"Value":"屏幕运行状态"},{"Key":210101003,"Value":"屏幕温度"},{"Key":210101004,"Value":"屏幕亮度"},{"Key":210101005,"Value":"屏幕类型"},{"Key":210101008,"Value":"设备音量"},{"Key":210101009,"Value":"当前播放频道"},{"Key":210101010,"Value":"当前播放节目"},{"Key":210102001,"Value":"LED主机启停状态"},{"Key":210102002,"Value":"LED主机运行状态"},{"Key":210102004,"Value":"LED主机播放状态反馈"},{"Key":220101001,"Value":"启停状态"},{"Key":220101005,"Value":"客流量"},{"Key":220101008,"Value":"进入人数"},{"Key":220101009,"Value":"退出人数"},{"Key":220101010,"Value":"场内人数"},{"Key":220101011,"Value":"累计客流"},{"Key":230101001,"Value":"道闸运行状态"},{"Key":230101002,"Value":"道闸故障状态"},{"Key":230102001,"Value":"车位状态"},{"Key":230102003,"Value":"车牌号码"},{"Key":230102004,"Value":"停车时间"},{"Key":230102005,"Value":"抓拍图像"},{"Key":230103001,"Value":"车道是否车卡一致"},{"Key":230103002,"Value":"车道是否单进单出"},{"Key":230103003,"Value":"车道临时车放行方式"},{"Key":240101001,"Value":"感温火灾探测器工作状态"},{"Key":240101002,"Value":"感温火灾探测器报警状态"},{"Key":240102001,"Value":"感烟火灾探测器工作状态"},{"Key":240102002,"Value":"感烟火灾探测器报警状态"},{"Key":240103001,"Value":"感光火灾探测器工作状态"},{"Key":240103002,"Value":"感光火灾探测器报警状态"},{"Key":240104001,"Value":"可燃气体探测器工作状态"},{"Key":240104002,"Value":"可燃气体探测器报警状态"},{"Key":240105001,"Value":"复合火灾探测器工作状态"},{"Key":240105002,"Value":"复合火灾探测器报警状态"},{"Key":240106001,"Value":"手动火灾报警按钮工作状态"},{"Key":240106002,"Value":"手动火灾报警按钮报警状态"},{"Key":240107001,"Value":"火灾报警控制器工作状态"},{"Key":240107002,"Value":"火灾报警控制器报警状态"},{"Key":240107003,"Value":"火灾报警控制器备电自动转换"},{"Key":240107004,"Value":"火灾报警控制器备用电源充电"},{"Key":240107005,"Value":"火灾报警控制器电源故障监测"},{"Key":240107006,"Value":"火灾报警控制器电µ源工作状态"},{"Key":240107007,"Value":"火灾报警控制器声光报警"},{"Key":240107008,"Value":"火灾报警控制器时钟单元"},{"Key":240107009,"Value":"火灾报警控制器声报警音响消音"},{"Key":240108001,"Value":"输入输出模块工作状态"},{"Key":240108002,"Value":"输入输出模块报警状态"},{"Key":240109001,"Value":"水流指示器工作状态"},{"Key":240109002,"Value":"水流指示器报警状态"},{"Key":240110001,"Value":"阀门限位器工作状态"},{"Key":240110002,"Value":"阀门限位器报警状态"},{"Key":240111001,"Value":"压力检测器工作状态"},{"Key":240111002,"Value":"压力检测器报警状态"},{"Key":240112001,"Value":"水力警铃工作状态"},{"Key":240112002,"Value":"水力警铃报警状态"},{"Key":240113001,"Value":"压力开关工作状态"},{"Key":240113002,"Value":"压力开关报警状态"},{"Key":250101003,"Value":"围墙机开关状态"},{"Key":250102003,"Value":"门口主机开关状态"},{"Key":270101002,"Value":"启用状态"},{"Key":270101004,"Value":"P1充电端口状态"},{"Key":270101006,"Value":"P2充电端口状态"},{"Key":270101008,"Value":"P3充电端口状态"},{"Key":280101004,"Value":"监控状态"},{"Key":280101006,"Value":"对讲状态"},{"Key":290101003,"Value":"开机时间"},{"Key":290101004,"Value":"运行时长"},{"Key":290101005,"Value":"CPU占用"},{"Key":290101006,"Value":"内存使用"},{"Key":290101007,"Value":"硬盘使用"},{"Key":290101008,"Value":"用户连接数"},{"Key":290102004,"Value":"CPU占用"},{"Key":290102005,"Value":"内存使用"},{"Key":290102006,"Value":"用户连接数"},{"Key":290102007,"Value":"上行速率"},{"Key":290102008,"Value":"下行速率"},{"Key":290102009,"Value":"带宽使用率"},{"Key":290102010,"Value":"上行流量"},{"Key":290102011,"Value":"下行流量"}]} |

## 2.4监测类-执行操作-设备类型列表

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60003/LinkageService/GetOprExamineDeviceTypeMap> |
| 请求方式 | post |
| 参数: | 无 |
| 返回值 |  |

## 2.5执行类-执行操作-设备类型列表

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60003/LinkageService/GetOprExecuteDeviceTypeMap> |
| 请求方式 | post |
| 参数: | 无 |
| 返回值 |  |

## ~~2.6监测类-执行操作-属性列表~~

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60003/LinkageService/GetOprExamineAttrMap> |
| 请求方式 | post |
| 参数: | 无 |
| 返回值 |  |

## ~~2.7执行类-执行操作-属性列表~~

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60003/LinkageService/GetOprExecuteAttrMap> |
| 请求方式 | post |
| 参数: | 无 |
| 返回值 |  |

## 2.8触发条件-属性列表

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60003/LinkageService/GetConDevAttrMap> |
| 请求方式 | post |
| 参数: | 无 |
| 返回值 | {  "GetConDevAttrMapResult" : [ {  "Key" : 230103000,  "Value" : [ {  "Key" : 230103001,  "Value" : "车道是否车卡一致"  }, {  "Key" : 230103002,  "Value" : "车道是否单进单出"  }, {  "Key" : 230103003,  "Value" : "车道临时车放行方式"  } ]  }, {  "Key" : 160101000,  "Value" : [ {  "Key" : 160101001,  "Value" : "布撤防状态"  } ]  }, {  "Key" : 190101000,  "Value" : [ {  "Key" : 190101001,  "Value" : "摄像机工作状态"  } ]  }, {  "Key" : 200101000,  "Value" : [ {  "Key" : 200101002,  "Value" : "设备运行状态"  }, {  "Key" : 200101003,  "Value" : "播放节目"  }, {  "Key" : 200101004,  "Value" : "播放文件"  } ]  }, {  "Key" : 190104000,  "Value" : [ {  "Key" : 190104001,  "Value" : "硬盘录像机工作状态"  } ]  }, {  "Key" : 270101000,  "Value" : [ {  "Key" : 270101002,  "Value" : "启用状态"  }, {  "Key" : 270101004,  "Value" : "P1充电端口状态"  }, {  "Key" : 270101006,  "Value" : "P2充电端口状态"  }, {  "Key" : 270101008,  "Value" : "P3充电端口状态"  } ]  }, {  "Key" : 290102000,  "Value" : [ {  "Key" : 290102004,  "Value" : "CPU占用"  }, {  "Key" : 290102005,  "Value" : "内存使用"  }, {  "Key" : 290102006,  "Value" : "用户连接数"  }, {  "Key" : 290102007,  "Value" : "上行速率"  }, {  "Key" : 290102008,  "Value" : "下行速率"  }, {  "Key" : 290102009,  "Value" : "带宽使用率"  }, {  "Key" : 290102010,  "Value" : "上行流量"  }, {  "Key" : 290102011,  "Value" : "下行流量"  } ]  }, {  "Key" : 150101000,  "Value" : [ {  "Key" : 150101001,  "Value" : "电表读数"  } ]  }, {  "Key" : 110103000,  "Value" : [ {  "Key" : 110103006,  "Value" : "亮度控制状态"  }, {  "Key" : 110103002,  "Value" : "开关状态"  }, {  "Key" : 110103003,  "Value" : "开关故障状态"  }, {  "Key" : 110103004,  "Value" : "回路工作状态"  } ]  }, {  "Key" : 100501000,  "Value" : [ {  "Key" : 100501001,  "Value" : "温度"  }, {  "Key" : 100501002,  "Value" : "湿度"  }, {  "Key" : 100501003,  "Value" : "CO2浓度"  }, {  "Key" : 100501004,  "Value" : "PM2.5"  }, {  "Key" : 100501005,  "Value" : "噪声"  }, {  "Key" : 100501006,  "Value" : "PM10"  }, {  "Key" : 100501007,  "Value" : "光照强度"  } ]  }, {  "Key" : 210101000,  "Value" : [ {  "Key" : 210101005,  "Value" : "屏幕类型"  }, {  "Key" : 210101008,  "Value" : "设备音量"  }, {  "Key" : 210101009,  "Value" : "当前播放频道"  }, {  "Key" : 210101010,  "Value" : "当前播放节目"  }, {  "Key" : 210101001,  "Value" : "屏幕启停状态"  }, {  "Key" : 210101003,  "Value" : "屏幕温度"  }, {  "Key" : 210101004,  "Value" : "屏幕亮度"  } ]  }, {  "Key" : 250102000,  "Value" : [ {  "Key" : 250102003,  "Value" : "门口主机开关状态"  } ]  }, {  "Key" : 250101000,  "Value" : [ {  "Key" : 250101003,  "Value" : "围墙机开关状态"  } ]  }, {  "Key" : 180103000,  "Value" : [ {  "Key" : 180103002,  "Value" : "门禁门锁状态"  }, {  "Key" : 180103003,  "Value" : "门禁门锁告警状态"  } ]  }, {  "Key" : 110102000,  "Value" : [ {  "Key" : 110102002,  "Value" : "开关状态"  } ]  }, {  "Key" : 230102000,  "Value" : [ {  "Key" : 230102001,  "Value" : "车位状态"  }, {  "Key" : 230102003,  "Value" : "车牌号码"  }, {  "Key" : 230102004,  "Value" : "停车时间"  }, {  "Key" : 230102005,  "Value" : "抓拍图像"  } ]  }, {  "Key" : 180101000,  "Value" : [ {  "Key" : 180101001,  "Value" : "门禁控制器启停状态"  }, {  "Key" : 180101002,  "Value" : "门禁控制器告警状态"  } ]  }, {  "Key" : 180102000,  "Value" : [ {  "Key" : 180102001,  "Value" : "门禁读卡器启停状态"  }, {  "Key" : 180102002,  "Value" : "门禁读卡器告警状态"  } ]  }, {  "Key" : 110101000,  "Value" : [ {  "Key" : 110101002,  "Value" : "开关状态"  }, {  "Key" : 110101003,  "Value" : "开关故障状态"  } ]  } ]  } |

## 2.9监测类-执行操作-属性列表1

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60003/LinkageService/GetOprExamineDevAttrMap> |
| 请求方式 | post |
| 参数: | 无 |
| 返回值 | { |

## 2.10执行类-执行操作-属性列表1

|  |  |
| --- | --- |
| url | [http://172.29.1.170:60003/LinkageService/](http://172.29.1.170:60003/LinkageService/GetConDevAttrMap)GetOprExecuteDevAttrMap |
| 请求方式 | post |
| 参数: | 无 |
| 返回值 | { |

# 重大活动

## 2.1获取重大活动数目

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60004/ActivityService/GetAllVipActivityNum> |
| 请求方式 | post |
| 参数: | 无 |
| 返回值 | {"GetAllVipActivityNumResult":2} |

## 2.2分页获取重大活动列表

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60004/ActivityService/GetAllVipActivityCfg> |
| 请求方式 | post |
| 参数: | {"startDbId":0,"Count":2} |
| 返回值 | {  "GetAllVipActivityCfgResult" : [ {  "Act" : {  "AreaDesc" : "111",  "CreateTime" : "/Date(1539310312000+0800)/",  "EndDate" : "/Date(1539312979000+0800)/",  "EndTime" : "/Date(1539313225000+0800)/",  "Location" : "222",  "Modifier" : "gongjie",  "ModifyTime" : "/Date(1539310342000+0800)/",  "RouteMap" : null,  "StartDate" : "/Date(1539310399000+0800)/",  "StartTime" : "/Date(1539310084000+0800)/",  "ThumbSubsysoids" : "[100000029]",  "VipaId" : 9,  "VipaName" : "aaa-副本"  },  "Operations" : [ {  "AttrCode" : 200101001,  "DevCode" : 200101000,  "DevOids" : "[130001987]",  "ExecuteTime" : "/Date(1539310579000+0800)/",  "Opid" : 10,  "RunNum" : 1,  "SetValue" : "1",  "VipaId" : 9  } ],  "Persons" : [ {  "Duty" : "a",  "Id" : 9,  "IsInplace" : null,  "StaffName" : "aaa",  "Telnum" : "15632145632",  "VipaId" : 9  } ]  }, {  "Act" : {  "AreaDesc" : "111",  "CreateTime" : "/Date(1539305814000+0800)/",  "EndDate" : "/Date(1539312979000+0800)/",  "EndTime" : "/Date(1539313225000+0800)/",  "Location" : "222",  "Modifier" : "gongjie",  "ModifyTime" : "/Date(1539305841000+0800)/",  "RouteMap" : null,  "StartDate" : "/Date(1539305959000+0800)/",  "StartTime" : "/Date(1539305582000+0800)/",  "ThumbSubsysoids" : "[100000029]",  "VipaId" : 6,  "VipaName" : "aaa"  },  "Operations" : [ {  "AttrCode" : 200101001,  "DevCode" : 200101000,  "DevOids" : "[130001987]",  "ExecuteTime" : "/Date(1539309379000+0800)/",  "Opid" : 7,  "RunNum" : 1,  "SetValue" : "1",  "VipaId" : 6  } ],  "Persons" : [ {  "Duty" : "a",  "Id" : 6,  "IsInplace" : null,  "StaffName" : "aaa",  "Telnum" : "15632145632",  "VipaId" : 6  } ]  } ]  } |

## 2.3根据ID查询重大活动

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60004/ActivityService/GetVipActivityById> |
| 请求方式 | post |
| 参数: | {"actId":6} |
| 返回值 | {  "GetVipActivityByIdResult" : {  "Act" : {  "AreaDesc" : "111",  "CreateTime" : "/Date(1539305814000+0800)/",  "EndDate" : "/Date(1539312979000+0800)/",  "EndTime" : "/Date(1539313225000+0800)/",  "Location" : "222",  "Modifier" : "gongjie",  "ModifyTime" : "/Date(1539305841000+0800)/",  "RouteMap" : null,  "StartDate" : "/Date(1539305959000+0800)/",  "StartTime" : "/Date(1539305582000+0800)/",  "ThumbSubsysoids" : "[100000029]",  "VipaId" : 6,  "VipaName" : "aaa"  },  "Operations" : [ {  "AttrCode" : 200101001,  "DevCode" : 200101000,  "DevOids" : "[130001987]",  "ExecuteTime" : "/Date(1539309379000+0800)/",  "Opid" : 7,  "RunNum" : 1,  "SetValue" : "1",  "VipaId" : 6  } ],  "Persons" : [ {  "Duty" : "a",  "Id" : 6,  "IsInplace" : null,  "StaffName" : "aaa",  "Telnum" : "15632145632",  "VipaId" : 6  } ]  }  } |

## 2.4重大活动增加

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60004/ActivityService/AddVipActivityCfg> |
| 请求方式 | post |
| 参数: | {"cfg":{"Act":{"AreaDesc":"111","CreateTime":"\/Date(1543472284000+0800)\/","EndDate":"\/Date(1539312979000+0800)\/","EndTime":"\/Date(1543475884000+0800)\/","Location":"222","Modifier":"yk","ModifyTime":"\/Date(1539305841000+0800)\/","RouteMap":null,"StartDate":"\/Date(1543474804000+0800)\/","StartTime":"\/Date(1543474804000+0800)\/","ThumbSubsysoids":"[100000029]","VipaId":0,"VipaName":"CCC"},"Operations":[{"AttrCode":200101001,"DevCode":200101000,"DevOids":"[130001987]","ExecuteTime":"\/Date(1543474804000+0800)\/","Opid":7,"RunNum":1,"SetValue":"1","VipaId":0}],"Persons":[{"Duty":"a","Id":6,"IsInplace":null,"StaffName":"CCC","Telnum":"15632145632","VipaId":0}]}} |
| 返回值 | {"AddVipActivityCfgResult":12} |

## 2.5重大活动修改

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60004/ActivityService/ModVipActivityCfg> |
| 请求方式 | post |
| 参数: | {"cfg":{"Act":{"AreaDesc":"111","CreateTime":"\/Date(1543472284000+0800)\/","EndDate":"\/Date(1539312979000+0800)\/","EndTime":"\/Date(1543475884000+0800)\/","Location":"222","Modifier":"yk","ModifyTime":"\/Date(1539305841000+0800)\/","RouteMap":null,"StartDate":"\/Date(1543474804000+0800)\/","StartTime":"\/Date(1543474804000+0800)\/","ThumbSubsysoids":"[100000029]","VipaId":12,"VipaName":"DDD"},"Operations":[{"AttrCode":200101001,"DevCode":200101000,"DevOids":"[130001987]","ExecuteTime":"\/Date(1543474804000+0800)\/","Opid":7,"RunNum":1,"SetValue":"1","VipaId":12}],"Persons":[{"Duty":"a","Id":6,"IsInplace":null,"StaffName":"CCC","Telnum":"15632145632","VipaId":12}]}} |
| 返回值 | {"ModVipActivityCfgResult":true} |

## 2.6重大活动删除

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60004/ActivityService/DelVipActivityCfg> |
| 请求方式 | post |
| 参数: | {"actId":12} |
| 返回值 | {"DelVipActivityCfgResult":true} |

## 2.7重大活动取消

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60004/ActivityService/CancelActivityCfg> |
| 请求方式 | post |
| 参数: | {"act":{"AreaDesc":"111","CreateTime":"\/Date(1543472284000+0800)\/","EndDate":"\/Date(1539312979000+0800)\/","EndTime":"\/Date(1543475884000+0800)\/","Location":"222","Modifier":"yk","ModifyTime":"\/Date(1539305841000+0800)\/","RouteMap":null,"StartDate":"\/Date(1543474804000+0800)\/","StartTime":"\/Date(1543474804000+0800)\/","ThumbSubsysoids":"[100000029]","VipaId":0,"VipaName":"CCC"}} |
| 返回值 | {"CancelActivityCfgResult":true} |

## 2.8查询重大活动

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60004/ActivityService/GetVipActivityList> |
| 请求方式 | post |
| 参数: | {"searchCondition":{"start\_date":"\/Date(1543475884000+0800)\/", "end\_date":"\/Date(1543475884000+0800)\/", "OrderDirection":"desc","OrderField":"vip\_activity.create\_time"},"start":0,"count":10} |
| 返回值 | {  "GetVipActivityListResult" : [ {  "Act" : {  "AreaDesc" : "",  "CreateTime" : "/Date(1543406600000+0800)/",  "EndDate" : "/Date(1543413691000+0800)/",  "EndTime" : "/Date(1543413997000+0800)/",  "Location" : "",  "Modifier" : "yk\_bs",  "ModifyTime" : "/Date(1543406600000+0800)/",  "RouteMap" : null,  "StartDate" : "/Date(1543410091000+0800)/",  "StartTime" : "/Date(1543409797000+0800)/",  "ThumbSubsysoids" : "[100000029]",  "VipaId" : 10,  "VipaName" : "Fire drill"  },  "Operations" : [ {  "AttrCode" : 110103005,  "DevCode" : 110103000,  "DevOids" : "[130002037]",  "ExecuteTime" : "/Date(1543410091000+0800)/",  "Opid" : 11,  "RunNum" : 1,  "SetValue" : "0",  "VipaId" : 10  } ],  "Persons" : [ {  "Duty" : "监督",  "Id" : 10,  "IsInplace" : null,  "StaffName" : "yy",  "Telnum" : "17011111111",  "VipaId" : 10  } ]  } ]  } |

## 2.9保障人员

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60004/ActivityService/GetActivityAllStaff> |
| 请求方式 | post |
| 参数: | 无 |
| 返回值 | {"GetActivityAllStaffResult":[{"Duty":"监督","Id":10,"IsInplace":null,"StaffName":"yy","Telnum":"17011111111","VipaId":10},{"Duty":"消防","Id":11,"IsInplace":null,"StaffName":"yy","Telnum":"13000000000","VipaId":11},{"Duty":"消防","Id":16,"IsInplace":null,"StaffName":"yy","Telnum":"13000000000","VipaId":14},{"Duty":"监督","Id":17,"IsInplace":null,"StaffName":"yy","Telnum":"17011111111","VipaId":14},{"Duty":"a","Id":18,"IsInplace":null,"StaffName":"aaa","Telnum":"15632145632","VipaId":14},{"Duty":"消防","Id":19,"IsInplace":null,"StaffName":"yy","Telnum":"13000000000","VipaId":15},{"Duty":"a","Id":20,"IsInplace":null,"StaffName":"aaa","Telnum":"15632145632","VipaId":16},{"Duty":"监督","Id":21,"IsInplace":null,"StaffName":"yy","Telnum":"17011111111","VipaId":16},{"Duty":"a","Id":22,"IsInplace":null,"StaffName":"aaa","Telnum":"15632145632","VipaId":17},{"Duty":"监督","Id":23,"IsInplace":null,"StaffName":"yyw","Telnum":"17011111111","VipaId":18},{"Duty":"轮岗","Id":24,"IsInplace":null,"StaffName":"张辉","Telnum":"13500000000","VipaId":19},{"Duty":"轮岗","Id":25,"IsInplace":null,"StaffName":"张辉","Telnum":"13500000000","VipaId":20},{"Duty":"监督","Id":26,"IsInplace":null,"StaffName":"yyw","Telnum":"17011111111","VipaId":20},{"Duty":"a","Id":27,"IsInplace":null,"StaffName":"aaa","Telnum":"15632145632","VipaId":20},{"Duty":"监督","Id":28,"IsInplace":null,"StaffName":"yy","Telnum":"17011111111","VipaId":20},{"Duty":"消防","Id":29,"IsInplace":null,"StaffName":"yy","Telnum":"13000000000","VipaId":20}]} |

## 2.10系统自动执行操作

参照 **联动预案：2.10执行类-执行操作-属性列表1**

# 轮巡配置

## 3.1获取所有轮巡任务数目

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60010/SubsysSpecialService/GetAllTurnTaskNum> |
| 请求方式 | post |
| 参数: | 无 |
| 返回值 | {"GetAllTurnTaskNumResult":3} |

## 3.2获取所有轮巡任务

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60010/SubsysSpecialService/GetAllTurnTask> |
| 请求方式 | post |
| 参数: | {"startDbId":0,"Count":3} |
| 返回值 | {  "GetAllTurnTaskResult" : [ {  "Count" : 3,  "DevIds" : "[{\"devId\":130001983,\"pointId\":-1,\"pointName\":\"\"},{\"devId\":130001984,\"pointId\":-1,\"pointName\":\"\"},{\"devId\":130001988,\"pointId\":-1,\"pointName\":\"\"},{\"devId\":130001986,\"pointId\":-1,\"pointName\":\"\"}]",  "Interval" : 8,  "ModuleOid" : 110000045,  "SplitScreens" : 4,  "TaskId" : 5,  "TaskName" : "trtrtr",  "VendorName" : "大华"  }, {  "Count" : 5,  "DevIds" : "[{\"devId\":130001986,\"pointId\":-1,\"pointName\":\"\"},{\"devId\":130001988,\"pointId\":-1,\"pointName\":\"\"},{\"devId\":130001985,\"pointId\":-1,\"pointName\":\"\"}]",  "Interval" : 7,  "ModuleOid" : 110000045,  "SplitScreens" : 4,  "TaskId" : 4,  "TaskName" : "vbbb",  "VendorName" : "大华"  }, {  "Count" : 3,  "DevIds" : "[{\"devId\":130001980,\"pointId\":1,\"pointName\":\"aa\"},{\"devId\":130001981,\"pointId\":-1,\"pointName\":\"---\"},{\"devId\":130001982,\"pointId\":3,\"pointName\":\"cc\"},{\"devId\":130001983,\"pointId\":-1,\"pointName\":\"\"},{\"devId\":130001985,\"pointId\":-1,\"pointName\":\"---\"}]",  "Interval" : 6,  "ModuleOid" : 110000045,  "SplitScreens" : 6,  "TaskId" : 3,  "TaskName" : "test",  "VendorName" : "大华"  } ]  } |

## 3.3添加轮巡任务

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60010/SubsysSpecialService/AddTurnTask> |
| 请求方式 | post |
| 参数: | {"task":{"Count" : 3, "DevIds" : "[{\"devId\":130001980,\"pointId\":1,\"pointName\":\"aa\"},{\"devId\":130001981,\"pointId\":-1,\"pointName\":\"---\"},{\"devId\":130001982,\"pointId\":3,\"pointName\":\"cc\"},{\"devId\":130001983,\"pointId\":-1,\"pointName\":\"\"},{\"devId\":130001985,\"pointId\":-1,\"pointName\":\"---\"}]","Interval" : 6,"ModuleOid" : 110000045, "SplitScreens" : 6,"TaskId" : 0, "TaskName" : "test111","VendorName" : "大华"}} |
| 返回值 | {"AddTurnTaskResult":6} |

## 3.4删除轮巡任务

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60010/SubsysSpecialService/DelTurnTask> |
| 请求方式 | post |
| 参数: | {"id":6} |
| 返回值 | {"DelTurnTaskResult":true} |

## 3.5修改轮巡任务

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60010/SubsysSpecialService/ModTurnTask> |
| 请求方式 | post |
| 参数: | {"task":{"Count" : 3, "DevIds" : "[{\"devId\":130001980,\"pointId\":1,\"pointName\":\"aa\"},{\"devId\":130001981,\"pointId\":-1,\"pointName\":\"---\"},{\"devId\":130001982,\"pointId\":3,\"pointName\":\"cc\"},{\"devId\":130001983,\"pointId\":-1,\"pointName\":\"\"},{\"devId\":130001985,\"pointId\":-1,\"pointName\":\"---\"}]","Interval" : 6,"ModuleOid" : 110000045, "SplitScreens" : 6,"TaskId" :7, "TaskName" : "test111222","VendorName" : "大华"}} |
| 返回值 | {"ModTurnTaskResult":true} |

## 3.6通过ID获取某个轮巡任务

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60010/SubsysSpecialService/GetTurnTaskById> |
| 请求方式 | post |
| 参数: | {"taskId":7} |
| 返回值 | {"GetTurnTaskByIdResult":{"Count":3,"DevIds":"[{\"devId\":130001980,\"pointId\":1,\"pointName\":\"aa\"},{\"devId\":130001981,\"pointId\":-1,\"pointName\":\"---\"},{\"devId\":130001982,\"pointId\":3,\"pointName\":\"cc\"},{\"devId\":130001983,\"pointId\":-1,\"pointName\":\"\"},{\"devId\":130001985,\"pointId\":-1,\"pointName\":\"---\"}]","Interval":6,"ModuleOid":110000045,"SplitScreens":6,"TaskId":7,"TaskName":"test111222","VendorName":"大华"}} |

# 自检配置

## 4.1获取服务配置

|  |
| --- |
| {"type":1005} |
| {"type":1014,  "obj":{"db\_datasource":"172.29.1.116\\IBMS",  "db\_database":"ibms\_20181119",  "db\_user":"ibms",  "db\_password":"ibms\_2015",  "ftpServer\_name":"ibms",  "ftpServer\_password":"ibms",  "ftpServer\_path":"ftp://172.29.1.103:21/"}} |

## 4.2获取平台自检配置总数量

long GetSysCheckCfgListCnt(SysCheckCfgSearchConditionDTO cond);

public class SysCheckCfgSearchConditionDTO

{

public int? modId; //模块对象ID

public int? devId; //设备对象ID

public int? attrCode; //属性类型code

public string OrderField = "sys\_selfcheck.id"; //排序字段,默认值sys\_selfcheck.id

public string OrderDirection = "desc"; // asc// 排序方向，默认值为desc

}

|  |
| --- |
| {"type":1006,"obj":{"modId":null,"devId":null,"attrCode":null}} |
| {"type":1015,"obj":3} |

## 4.3分页获取平台自检的所有配置

|  |
| --- |
| {"type":1007,"obj":{"modId":null,"devId":null,"attrCode":null},"start":0,"cnt":10} |
| {"type":1016,  "obj":[  {"ID":4,"CheckType":2,"ModId":null,"DevIds":null,"AttrTypes":null,"RotateId":4},  {"ID":3,"CheckType":1,"ModId":110000045,"DevIds":"[130001980]","AttrTypes":"[190101001]","RotateId":null},  {"ID":2,"CheckType":1,"ModId":110000070,"DevIds":"[130002158,130002159]","AttrTypes":"[180103002]","RotateId":null}]  } |

|  |
| --- |
| {"type":1007,"obj":{"modId":null,"devId":null,"attrCode":null},"start":1,"cnt":10} |
| {"type":1016,  "obj":[  {"ID":3,"CheckType":1,"ModId":110000045,"DevIds":"[130001980]","AttrTypes":"[190101001]","RotateId":null},  {"ID":2,"CheckType":1,"ModId":110000070,"DevIds":"[130002158,130002159]","AttrTypes":"[180103002]","RotateId":null}]  } |

## 4.4添加平台自检的配置

|  |
| --- |
| {"type":1008,"obj":{"ID":0,"CheckType":1,"ModId":110000031,"DevIds":"130001935","AttrTypes":"140000885","RotateId":null}} |
| {"type":1017,"obj":5} |

|  |
| --- |
| {"type":1008,"obj":{"ID":0,"CheckType":2,"ModId":null,"DevIds":null,"AttrTypes":null,"RotateId":3}} |
| {"type":1017,"obj":6} |

## 4.5修改平台自检配置数据

|  |
| --- |
| {"type":1009,"obj":{"ID":2,"CheckType":1,"ModId":110000070,"DevIds":"[130002159]","AttrTypes":"[180103002]","RotateId":null}} |
| {"type":1020,"obj":"true"} |

## 4.6删除平台自检的配置

|  |
| --- |
| {"type":1010,"obj":{"ID":2,"CheckType":1,"ModId":110000070,"DevIds":"[130002159]","AttrTypes":"[180103002]","RotateId":null}} |
| {"type":1021,"obj":"true"} |

## 4.7平台自检界面显示接口

|  |
| --- |
| {"type":1011} |
| {"type":1018,"obj":{"rotateTaskId":3,"sysCheckAttrValueList":[{"sysId":100000031,"devCode":230000000,"DevInfoList":[{"ModId":110000031,"DevId":130001935,"AttrValueList":[{"AttrCode":230103001,"AttrValue":null}]}]}]}} |

# 告警阈值配置

## 5.1获取告警阈值列表

|  |  |
| --- | --- |
| url | <http://127.0.0.1:60012/WebService/GetAlarmThresholdCfgPlus> |
| 请求方式 | Get |
| 参数: | 无 |
| 返回值 | [ {  "AlarmHigh" : 40.00,  "AlarmLow" : 0.00,  "AlarmType" : 3,  "AttrCode" : 100501001,  "AttrName" : "温度",  "AttrType" : "监测",  "DisplayName" : "温度",  "EnumVals" : "",  "InfoPoint" : "I",  "IsKeypara" : false,  "IsVisible" : true,  "MonitorCycle" : 5,  "OwnerCode" : 100501000,  "ValueMax" : 50.00,  "ValueMin" : 0.00,  "ValuePrecision" : 1,  "ValueType" : "float",  "ValueUnit" : "℃",  "CfgObjectAttrList" : [ {  "AlarmHigh" : 40.0,  "AlarmLow" : 0.0,  "AlarmType" : 3,  "ObjectId" : 140001362,  "ObjectName" : "温度",  "ObjectType" : 100501001,  "OwnerObjectid" : 130002045,  "UpdateTime" : "/Date(1539939000000+0800)/",  "ValueStr" : "21",  "VendorAttrId" : ""  } ],  "DevCode" : 100501000,  "DevName" : "环境监测传感器",  "ModCode" : 100500000,  "ModName" : "环境监测",  "ModifiedDeviceCount" : 0,  "SubsysCode" : 100000000,  "SubsysName" : "暖通空调"  }……] |

## 5.2设置属性类型的告警阈值

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60006/AttributeService/SetDefAttrAlarmThreshold> |
| 请求方式 | Post |
| 参数: | {"date":[{"AttrCode":100501001,"AlarmType":3,"AlarmHigh":39.9,"AlarmLow":0}]} |
| 返回值 | {} |

## 5.3设置属性对象的告警阈值

|  |  |
| --- | --- |
| url | <http://172.29.1.170:60006/AttributeService/SetCfgAttrAlarmThreshold> |
| 请求方式 | Post |
| 参数: | {"date":[{"ObjectId":140001362,"AlarmType":3,"AlarmHigh":39.9,"AlarmLow":0}]} |
| 返回值 | {} |

# 一键运行配置

## 6.1获取一键运行配置列表

|  |  |
| --- | --- |
| url | <http://127.0.0.1:60015/OkomService/GetOneKeyPlanCfgForWeb> |
| 请求方式 | Post |
| 参数: | {"searchCondition":{"OrderField":"create\_time","OrderDirection":"desc"}} |
| 返回值 | {  "GetOneKeyPlanCfgForWebResult" : [ {  "Operations" : [ {  "AttrCode" : 110101001,  "Delay" : 0,  "DevCode" : 110101000,  "DevOids" : "[130002207]",  "Opid" : 10,  "PlanId" : 4,  "RunNum" : 1,  "SetValue" : "1"  }, {  "AttrCode" : 210101001,  "Delay" : 0,  "DevCode" : 210101000,  "DevOids" : "[130002150]",  "Opid" : 14,  "PlanId" : 4,  "RunNum" : 5,  "SetValue" : "0"  } ],  "Plan" : {  "CreateTime" : "/Date(1546911526000+0800)/",  "Creater" : "yk\_bs",  "IsActive" : false,  "IsRunning" : false,  "Modifier" : "yk\_bs",  "ModifyTime" : "/Date(1546911761000+0800)/",  "PlanId" : 4,  "PlanName" : "OneKey\_3"  }  }, {  "Operations" : [ {  "AttrCode" : 190101011,  "Delay" : 0,  "DevCode" : 190101000,  "DevOids" : "[130001980]",  "Opid" : 3,  "PlanId" : 3,  "RunNum" : 1,  "SetValue" : "/"  } ],  "Plan" : {  "CreateTime" : "/Date(1546862239000+0800)/",  "Creater" : "yk\_bs",  "IsActive" : false,  "IsRunning" : false,  "Modifier" : "yk\_bs",  "ModifyTime" : "/Date(1546862239000+0800)/",  "PlanId" : 3,  "PlanName" : "OneKey\_2"  }  }, {  "Operations" : [ {  "AttrCode" : 180103001,  "Delay" : 0,  "DevCode" : 180103000,  "DevOids" : "[130002158]",  "Opid" : 2,  "PlanId" : 2,  "RunNum" : 1,  "SetValue" : "1"  } ],  "Plan" : {  "CreateTime" : "/Date(1546862210000+0800)/",  "Creater" : "yk\_bs",  "IsActive" : false,  "IsRunning" : false,  "Modifier" : "yk\_bs",  "ModifyTime" : "/Date(1546862210000+0800)/",  "PlanId" : 2,  "PlanName" : "OneKey\_1"  }  } ]  } |

## 6.2增加配置

|  |  |
| --- | --- |
| url | <http://127.0.0.1:60015/OkomService/AddOkomCfg> |
| 请求方式 | Post |
| 参数: | {"cfg" : {"Operations" : [ {"AttrCode" : 180103001,"Delay" : 0,"DevCode" : 180103000,"DevOids" : "[130002158]","Opid" : 0,"PlanId" : 0,"RunNum" : 1,"SetValue" : "1"} ], "Plan" : {"CreateTime" : "/Date(1546862210000+0800)/","Creater" : "yk\_bs","IsActive" : false,"IsRunning" : false, "Modifier" : "yk\_bs", "ModifyTime" : "/Date(1546862210000+0800)/","PlanId" : 0,"PlanName" : "OneKey\_3"}}} |
| 返回值 | {"AddOkomCfgResult":6} |

## 6.3删除配置

|  |  |
| --- | --- |
| url | <http://127.0.0.1:60015/OkomService/DelOkomCfg> |
| 请求方式 | Post |
| 参数: | {"id":7} |
| 返回值 | {"DelOkomCfgResult":true} |

## 6.4更新配置

|  |  |
| --- | --- |
| url | <http://127.0.0.1:60015/OkomService/ModOkomCfg> |
| 请求方式 | Post |
| 参数: | {"cfg" : {"Operations" : [ {"AttrCode" : 180103001,"Delay" : 0,"DevCode" : 180103000,"DevOids" : "[130002158]","Opid" : 15,"PlanId" : 5,"RunNum" : 1,"SetValue" : "1"} ], "Plan" : {"CreateTime" : "/Date(1546862210000+0800)/","Creater" : "yk\_bs","IsActive" : false,"IsRunning" : false, "Modifier" : "yk\_bs", "ModifyTime" : "/Date(1546862210000+0800)/","PlanId" : 5,"PlanName" : "OneKey\_222"}}} |
| 返回值 | {"ModOkomCfgResult":true} |

## 6.4激活

|  |  |
| --- | --- |
| url | [http://127.0.0.1:60015/OkomService/](http://127.0.0.1:60015/OkomService/ModOkomCfg)OkomStart |
| 请求方式 | Post |
| 参数: | {"pId":"5"} |
| 返回值 | {"OkomStartResult":true} |

## 6.4 去激活

|  |  |
| --- | --- |
| url | [http://127.0.0.1:60015/OkomService/](http://127.0.0.1:60015/OkomService/ModOkomCfg)OkomStop |
| 请求方式 | Post |
| 参数: | {"pId":"5"} |
| 返回值 | {"OkomStopResult":true} |